## Program
|  | Programming Matrix |  |  | Cost Estimate
Level of Improvement | Area of Focus | Renovation Considerations | Justification | Item | Unit Cost | Units | Quantity | Amount | Cost/Unit
Tier 1 | Path of Travel | Replace pavement, signs, and striping of accessible parking spaces; replace sidewalks or walk 48" clear < 2/5/8.33% Slope | Required if pavement at accessible parking is not code compliant; CBC Chapter 11B-502 & 11B-403 | Conc pavement 6"/6" AB | 27.2646 | SF |  | 0
|  |  |  | Conc pavement ped 4"/4" AB | 17.1666 | SF |  | 0
|  |  |  | Conc ramp | 36.3528 | SF |  | 0
|  |  |  | Replace concrete walk | 17.1666 | SF |  | 0
|  |  |  | New sign | 403.9311 | EA |  | 0
|  | Reset PTACs to ensure 44" clear width in all walkways | Only required to ensure 44" clear width in all walkways; does not apply in facilities with central systems or where PTACs are installed in different locations |  | #N/A | #N/A |  | #N/A
|  | Provide enough compliant accessible parking spaces | Required if there are not a minimum number of accessible parking spaces provided. CBC Chapter 11B | Conc pavement 6"/6" AB | 27.2646 | SF |  | 0
|  |  |  | Conc pavement ped 4"/4" AB | 17.1666 | SF |  | 0
|  |  |  | Conc ramp | 36.3528 | SF |  | 0
|  |  |  | Replace concrete walk | 17.1666 | SF |  | 0
|  |  |  | New sign | 403.9311 | EA |  | 0
|  | Replace walkways or ramps along path of travel | Required if walkways surface, width, slopes, handrails, and any obstructions along path of travel are not code compliant; define path of travel from accessible parking to all common areas and accessible units, CBC Chapter 11-B | Conc pavement ped 4"/4" AB | 17.1666 | SF |  | 0
|  |  |  | Conc ramp | 36.3528 | SF |  | 0
|  |  |  | Replace concrete walk | 17.1666 | SF |  | 0
|  |  |  | New sign | 403.9311 | EA |  | 0
| Community Spaces | Replace entry door and threshold | Required if entry door and threshold to be accessible is not code compliant; check threshold height and opening sizes, hardware, opening force, etc. | Replace door with hardware | 959.321 | EA |  | 0
|  |  |  | Replace storefront door | 2221.5819 | EA |  | 0
|  |  |  | Relocate door latch | 605.8911 | EA |  | 0
|  |  |  | Replace door hardware | 444.3231 | EA |  | 0
|  |  |  | Replace door lock | 605.9023 | EA |  | 0
|  |  |  | Replace storefront door | 2221.5819 | EA |  | 0
|  |  |  | Replace concrete walk | 17.1666 | SF |  | 0
|  | Remodel restroom to be accessible: Remove and replace restroom door, remove adjacent wall to add area for restroom, remove and replace lavatory and toilets including modifying existing plumbing to accommodate new location, install grab bars, relocate light switches and lights, replace flooring, replace ceiling | All public facilities for employees or residents must be fully accessible. Restroom remodel only required if no other accessible restroom exits in the office or community area | Convert std bathroom & vest. to accessible | 37037.2106 | EA |  | 0
|  |  |  | Replace door with hardware | 959.321 | EA |  | 0
|  |  |  | Install grab bar | 454.4211 | EA |  | 0
|  |  |  | Replace grab bar | 353.4299 | EA |  | 0
|  |  |  | Bathroom accessories | 1716.6708 | LS |  | 0
|  |  |  | Under-lavatory pipe protection | 262.604 | EA |  | 0
|  |  |  | Relocate toilet | 7068.6655 | EA |  | 0
|  |  |  | Reposition toilet (1") | 474.6059 | EA |  | 0
|  |  |  | Reposition light switch | 605.8798 | EA |  | 0
|  | Remodel offices, lobby space and any common spaces to be accessible including: level threshold, replace door and ensure clearances are unobstructed, relocate light switches to within reach range; update flooring and counter/desks heights. Update office and reception with appropriate lighting and electrical | Identify the accessible path of travel within all office spaces and public areas. All spaces must be accessible along the path of travel. | Replace door threshold | 302.9399 | EA |  | 0
|  |  |  | Replace concrete walk | 17.1666 | SF |  | 0
|  |  |  | Replace door with hardware | 959.321 | EA |  | 0
|  |  |  | Reposition light switch | 605.8798 | EA |  | 0
|  |  |  | Replace flooring w/ PLAM | 46.4508 | SF |  | 0
|  |  |  | Kitchen cabinets | 1211.7709 | LF |  | 0
|  |  |  | Interior luminaire | 1312.7509 | EA |  | 0
|  |  |  | Electrical receptacle | 1817.662 | EA |  | 0
|  |  |  | CAT6 receptacle | 1262.2609 | EA |  | 0
| Guest Room Accessibility w/ mobility features | Update standard room to accessible: Level door threshold, remove and relocate light switches, demo existing tub/shower, remove lavatory and counter, remove dividing wall, demolish laminate flooring, extending separating wall between sleeping area and restroom, demo and replace toilet and relocate, add new ceramic floor tile, new roll-in shower, grab bars and shower seat, new lavatory and mirror, relocate restroom light fixtures | CBC Chapter 11B requires a minimum 5% of all units to be accessible with mobility features. This includes a roll-in or transfer shower, grab bars at the toilet, and other accessible features. | Replace door threshold | 302.9399 | EA |  | 0
|  |  |  | Replace concrete walk | 17.1666 | SF |  | 0
|  |  |  | Relocate door latch | 605.8911 | EA |  | 0
|  |  |  | Replace door hardware | 444.3231 | EA |  | 0
|  |  |  | Reposition light switch | 605.8798 | EA |  | 0
|  |  |  | Convert std bathroom & vest. to accessible | 37037.2106 | EA |  | 0
|  |  |  | Replace flooring w/ PLAM | 46.4508 | SF |  | 0
| Guest Room Accessibility w/ communication features | Add peep hole in door, add hard wired electric doorbell with audio tone and visual signal, add fire alarm, smoke detectors and carbon monoxide visual alarms | CBC Chapter 11B requires a minimum 2% of all units to be accessible with communication features. | Add peep-hole in door | 505.0009 | EA |  | 0
|  |  |  | Door bell | 706.871 | EA |  | 0
|  |  |  | Fire alarm device | 1817.662 | EA |  | 0
|  |  |  | Visual alarm (Fire, CO) | 1009.811 | EA |  | 0
|  |  |  | Visual alarm (Smoke) | 1817.6508 | EA |  | 0
| Commercial Signage | Remove all commercial signage; monument signs, fascia signs, etc. | Where converting existing hotels to housing, all commercial signage should be removed out of consideration of new property use; not required by code | Remove existing motel sign - fascia | 16.1568 | SF |  | 0
|  |  |  | Remove existing motel sign - monument | 8079.9575 | EA |  | 0
|  |  |  | Remove existing motel sign - pylon 30' | 7068.6768 | EA |  | 0
|  |  |  | Remove existing motel sign - pylon 75' | 8078.398 | EA |  | 0
100 | units (Tier 1) |  |  | TIER 1 SUBTOTAL |  |  |  | #N/A | #N/A
Tier 2 | Guestroom restroom conversion to kitchens | Remove dividing wall between restroom and lavatory; Remove wall dividing restroom and sleeping area; Remove lavatory, toilet and shower; Remove existing lavatory/sink/counter; Remove laminate flooring; Remove existing drop ceiling; Plug toilet and waste pipe, cap shower and waste pipe, remove ceiling exhaust fan; Move sink drain; Add sink; Add refrigerator, stove, range; Add new laminate floor; New ceiling and light fixtures; Add Electrical upgrades- 2 new circuits per unit, conduits, conductors, breakers and subpanels; Add plumbing and exhaust as required for renovation | Where converting an existing hotel to residential housing the need for additional plumbing is required by California Building Code Table 422.1. If seeking tax credits, CTCAC requires kitchens including a sink, refrigerator, and cooktop. | Convert std bathroom & vest. to kitchen incl appliances, receptacles, lighting, plumbing, exhaust | 18298.6934 | EA |  | 0
|  |  |  | Transformer 500 kVA | 2928.4417 | EA |  | 0
|  |  |  | Feeders to (e) switchboard 4#350, 1#3/0 GND in 4" GRC | 205.1015 | LF |  | 0
|  |  |  | Feeders to (N) switchboard 4#600, #1/0 GND in 4" GRC | 252.349 | LF |  | 0
|  |  |  | Main switchboard, 2000A 3ph 120/208V | 14339.3022 | EA |  | 0
|  |  |  | Breakers 3ph for main switchboard | 4308.5238 | EA |  | 0
|  |  |  | Feeders to subpanel 4#2, #8 GND in 2" GRC | 71.5948 | LF |  | 0
|  |  |  | Subpanel 200A 3ph 42 bkrs | 8347.0944 | EA |  | 0
|  |  |  | Breakers 3ph at subpanel 200A | 5049.0548 | EA |  | 0
|  |  |  | Circuits from subpanel 8#4, #8 GND in 2" GRC | 71.5948 | LF |  | 0
| Guest Room Accessibility w/ mobility features (Minimum 10% of total unit count) | Update standard room to be accessible: Level door threshold, remove and relocate light switches, demo existing tub/shower, remove lavatory and counter, remove dividing wall, demolish laminate flooring, extending separating wall between sleeping area and restroom, demo and replace toilet and relocate, add new ceramic floor tile, new roll-in shower, grab bars and shower seat, new lavatory and mirror, relocate restroom light fixtures | Additional accessible rooms may be required beyond those required by building code if projects use tax credit funding or in order to meet the demands of the local market. | Replace door threshold | 302.9399 | EA |  | 0
|  |  |  | Replace concrete walk | 17.1666 | SF |  | 0
|  |  |  | Relocate door latch | 605.8911 | EA |  | 0
|  |  |  | Replace door hardware | 444.3231 | EA |  | 0
|  |  |  | Reposition light switch | 605.8798 | EA |  | 0
|  |  |  | Convert std bathroom & vest. to accessible | 37037.2106 | EA |  | 0
|  |  |  | Replace flooring w/ PLAM | 46.4508 | SF |  | 0
| Guest Room Accessibility w/ communication features (Minimum 4% of total unit count) | Add peep hole in door, add hard wired electric doorbell with audio tone and visual signal, add fire alarm, smoke detectors and carbon monoxide visual alarms | Additional accessible rooms may be required beyond those required by building code if projects use tax credit funding or in order to meet the demands of the local market. | Add peep-hole in door | 505.0009 | EA |  | 0
|  |  |  | Door bell | 706.871 | EA |  | 0
|  |  |  | Fire alarm device | 1817.662 | EA |  | 0
|  |  |  | Visual alarm (Fire, CO) | 1009.811 | EA |  | 0
|  |  |  | Visual alarm (Smoke) | 1817.6508 | EA |  | 0
|  | Remove existing connecting doors and infill walls and finishes as required | Existing connecting doors between motel rooms no longer become necessary when converting to residential units; not required by code but should be considered for privacy and safety concerns of future residents | Infill doorway opening (exterior) | 1272.6027 | EA |  | 0
| All Guest Rooms | Upgrade furniture, finishes and equipment as required; bed-bug free products recommended; additional wardrobe space recommended | F,F & E items should be considered for replacement in consideration of future residents needs, but is not required by code in many cases unless required to be ADA accessible. |  | #N/A | #N/A |  | #N/A
| Pool Area | Drain and remove pool | Not required by code; Pools are expensive to maintain and are a point of liability concern therefore it is recommended to fill in pools and remove equipment to be replaced by community spaces | Remove pool, backfill & compact | 56549.9077 | LS |  | 0
|  | Remove concrete pool deck |  | Remove pool deck | 6.4627 | SF |  | 0
|  | Remove all pool equipment | Remaining pool equipment if no longer in use should be disposed of to prevent liability | Remove pool equipment | 5049.0324 | LS |  | 0
|  | Add landscaping, grass, low water plants | Removal of pool deck and equipment leaves an opportunity to create a community space but simple landscaping is a quick alternative | Landscaping (plants, grass, irrigation) | 12.1176 | SF |  | 0
| Site Perimeter/ Security | Add metal pedestrian gate | Where site security is defined by a perimeter gate, pedestrian-only access is necessary for those residents without a vehicle (Ref. CBC 11B-404) | Decorative metal ped gate | 2423.5418 | EA |  | 0
|  | Add motorized sliding vehicular metal gate at each driveway | Perimeter gate limiting vehicular access will control security and deter theft by vehicle (Ref. CBC 3110) | Decorative metal veh gate | 39382.5939 | EA |  | 0
|  | Add card reader or similar access control and 2-way communication between office and grate | Where a perimeter gate is being utilized as site security, access should be controlled and monitored | Entry system w/ card reader | 13531.4624 | EA |  | 0
| Office Renovation | Renovate Kitchen: Remove and replace cabinetry, remove and replace sink and all appliances to accessible type | Recommended where public/employee use of kitchen proposed; cabinetry and appliances required to be ADA accessible | Remove equipment (kitchen, laundry, vending, etc.) | 363.5952 | EA |  | 0
|  |  |  | Kitchen cabinets | 1211.7709 | LF |  | 0
|  |  |  | Kitchen sink | 1514.7333 | EA |  | 0
|  |  |  | Dishwasher | 2423.9906 | EA |  | 0
|  |  |  | Range hood (incl elect & exhaust) | 6462.7071 | EA |  | 0
|  |  |  | Refrigerator | 2423.9906 | EA |  | 0
|  |  |  | Stove (incl elect) | 5048.9763 | EA |  | 0
|  | Renovate lobby, reception, vestibule, storage room: Ensure all areas are accessible, may include new lighting and flooring | Necessary where areas of the existing building are observed to be out of compliance with current accessible code | Interior luminaire | 1312.7509 | EA |  | 0
|  |  |  | Replace flooring w/ PLAM | 46.4508 | SF |  | 0
| Repurpose Guest Rooms | Various renovation may occur according to proposed use | Consideration: Due to program needs or requested additional services in each facility, various renovations may be required to allow for proposed uses |  | #N/A | #N/A |  | #N/A
| Convert Housekeeping Laundry Room to Residents Laundry | Remove employee restroom | Housekeeping laundry rooms in each facility vary. Renovations should reflect the needs required to bring the space up to current building code for fire and life safety and accessibility, then proposed renovations should account for the needs of future residents | Remove employee restroom | 2491.9614 | LS |  | 0
|  | Remove industrial laundry machines | Industrial laundry machines are oversized and inappropriate for individual use. | Remove equipment (kitchen, laundry, vending, etc.) | 363.5952 | EA |  | 0
|  | Remove and replace flooring | May vary depending on the state of repair of each building | Repair concrete floor | 39.5841 | SF |  | 0
|  | Remove and replace mop sink | A commercial mop sink may be useful for residents but also can be replaced with smaller residential type | Replace mop sink | 656.3811 | EA |  | 0
|  | Add coin-operated residential type laundry machines | 1 laundry machine per 12 dwelling units is required by the California Plumbing Code, Table 422.1 for R-2 occupancy | Washing machine | 2978.9429 | EA |  | 0
|  |  |  | Plumbing connection | 403.9199 | EA |  | 0
|  |  |  | Clothes dryer | 6866.7056 | EA |  | 0
|  | Add laundry detergent vending machine | Detergent vending machine is a convenience item only, not required | Laundry vending machine (incl elect conn) | 3119.2041 | EA |  | 0
|  | Add folding tables | Convenience item only, not required | Tables (for laundry folding) | 1716.9962 | EA |  | 0
|  | Add windows as required: includes cutting and framing wall openings and refinishing exterior and interior walls | In order to deter crime, windows into laundry facilities are preferred, but are not required by code. Assume 16SF | New window with new opening | 191.8956 | SF |  | 0
| Existing Vending/ Laundry Room | Remove existing vending and laundry machines | Where commercial laundry rooms are proposed to be converted to residential laundry, existing laundry/vending rooms can be converted to various other uses and laundry machines should be moved to new laundry facility | Remove equipment (kitchen, laundry, vending, etc.) | 363.5952 | EA |  | 0
100 | units (Tier 2) |  |  | TIER 2 SUBTOTAL |  |  |  | #N/A | #N/A
Tier 3 | Seismic Evaluation and Retrofit | FEMA 154 Rapid Review followed by ASCE7-16 evaluation if necessary. Possible upgrades required include strengthening the foundation, increased nailing and holdowns at shear walls, increased nailing at floor and roof plywood, straps at floor and roof re-entrant corners. | All buildings should be evaluated using the Rapid Review. If any building fails the Rapid Review, it should be followed up with an ASCE7-16 evaluation. Depending on the local authority having jurisdiction the cost of the Tier 1 remodel and/or the addition of seismic mass to the buildings may trigger a mandatory ASCE7-16 evaluation. | Seismic Retrofit - Add 30' deep foundations with grade beams at all bearing and shear walls | 19.7942 | SF |  | 0
|  |  |  | Seismic Retrofit - Add nails, sill bolts, and hold-downs at shear walls | 9.9319 | SF |  | 0
|  |  |  | Seismic Retrofit - Add additional nails and straps to roofs and floors | 16.8737 | SF |  | 0
|  | Strengthen or add framing as required for proposed fire sprinkler system | Applies to any property where fire sprinklers are to be installed retroactively | Seismic framing for fire sprinkler system | 3.9925 | EA |  | 0
|  | Provide seismic joints at elevated walkways and roof joints | Applies to any property over 2 stories with exterior walkways and/or a roof that spans a between two structures | Seismic joint at roof or walkway | 33575.748 | EA |  | 0
|  | Replace roof as required for seismic upgrade with new single-ply roofing | Necessary if roof diaphragm must be upgraded as a result of seismic evaluation |  | #N/A | #N/A |  | #N/A
| Egress Elements | Add Stair riser grate | Required if stairs are open risers | Infill risers w/ grates | 428.5478 | Riser |  | 0
|  | New stair guard rail | Required if stair guard rail is not code compliant; check height and opening sizes | Guardrail 42"-H | 150.146 | LF |  | 0
|  | New stair handrail | Required if stair handrail is not code compliant; check height and extension lengths | Pipe rail, wall-mtd | 71.2919 | LF |  | 0
| Fire Life Safety Elements | New Fire Hydrants and residual water flow pressure | Required if Fire Hydrants are not code compliant regarding spacing, building area coverage, and residual pressure. CFC Appendices B and C | Fire Hydrant | 5344.9261 | EA |  | 0
|  |  |  | Fire water line, 6"-12" dia w/ AC paving o/trench | 222.1559 | LF |  | 0
|  |  |  | Water line connection | 5251.0372 | LS |  | 0
|  | Backflow Preventer | Required if valve assembly is not code compliant; CPC, 602.3 | Backflow 6" | 36284.5171 | EA |  | 0
|  | Install automatic fire sprinklers | Required if automatic sprinklers are not already existing in building, CFC Section 903 | Install fire sprinklers | 20.196 | SF |  | 0
|  | Add draft stopping | Required if draft stopping is not code compliant; check height and opening sizes | Draft stopping in attic | 70.686 | SF |  | 0
|  | Replace or add Guard Rails | Required if elevation difference between two surfaces exceed 30", and the existing guardrail height and opening are not compliant with California Code of Regulations, Title 8, Section 3209 | Guardrail 42"-H | 150.146 | LF |  | 0
|  |  |  | Repair rusted railings | 161.568 | LF |  | 0
|  |  |  | Paint railing | 24.2352 | LF |  | 0
|  | Upgrade demising walls and ceiling to 1/2-hour construction | Required if demising walls and ceiling do not appear to already be fire rated. 1/2-hour rating is min. with fire sprinklers | Fire-rated wall | 40.392 | SF |  | 0
|  |  |  | Seal penetration in wall | 454.4099 | EA |  | 0
| Utility Rooms | Replace doors with fire rated doors | Check wall, ceilings, doors and openings for fire rating. Maintain 1-hr fire separation between each dwelling unit and any utility rooms | Fire-rated door | 8482.4076 | EA |  | 0
|  | Ensure demising walls and ceilings are fire rated | Where separating a dwelling unit from another unit, utility room, or attic, walls and ceilings must have rated Type 'X' gyp board or equivalent; sealed openings and rated access hatches as applies | Fire-rated wall | 40.392 | SF |  | 0
| Site Pavement/ Drainage | Replace broken curb and gutter | Site repairs where necessary to avoid path of travel barriers and to reduce pedestrian accidents | Curb and gutter replace | 59.5782 | LF |  | 0
|  | Replace AC pavement | Recommended to provide level path of travel and smooth surface of parking, CBC Chapter 11B | A/C pavement 3"/8" AB | 12.1176 | SF |  | 0
|  | Regrade the surface or place barriers to reduce possibility of flooding during major storm | Required where deemed necessary by a Civil Engineer's site drainage patterns assessment | 2" AC overlay | 2.5245 | SY |  | 0
|  | Add backflow preventer | Required where deemed necessary by a civil assessment and required for site utilities as required by code | Backflow 2" | 5771.7236 | EA |  | 0
|  |  |  | Backflow 4" | 14866.0026 | EA |  | 0
| Misc. Architectural Repairs | Repaint dormers and fascia | Exterior paint, façade treatment and repair may be required to prevent further water penetration and dry rot. | Repaint | 15.147 | SF |  | 0
|  | Repair/replace damaged gutters and downspouts | Varies for each property | Replace downspouts | 24.2352 | LF |  | 0
|  | Repair rusted/deteriorated guardrails | Varies for each property | Repair rusted railings | 161.568 | LF |  | 0
| Mechanical/ Plumbing Equipment | Individual Units: PTACs and Exhaust Fans | PTAC and exhaust fans should be replaced if the remaining life of the unit is less than 5 years or if they are in a state of disrepair | Replace PTAC | 8078.3755 | EA |  | 0
|  |  |  | Replace bathroom exhaust fan | 727.067 | EA |  | 0
|  | Central Systems: Boilers, hot water storage tanks, water softener system, insulate hot water piping in boiler rooms | Central system mechanical equipment should be evaluated and replaced based on remaining life and current state of operation. Insulation thickness per California Energy Code, Section 150.0. | Replace 60-ton chiller | 197922.7919 | EA |  | 0
|  |  |  | Anchor rooftop AC to structure | 2423.8335 | EA |  | 0
|  |  |  | MERV-13 filter at fan coil unit | 504.8999 | EA |  | 0
|  |  |  | Replace 120-gal HW storage tank | 4645.9764 | EA |  | 0
|  |  |  | Replace 250-gal HW storage tank | 19186.4083 | EA |  | 0
|  |  |  | Replace 600 MBH boiler | 137334.179 | EA |  | 0
|  |  |  | Replace HW pump 7.5 HP | 5049.0436 | EA |  | 0
|  |  |  | Replace water softener system | 1066.6859 | Unit |  | 0
|  |  |  | Add pipe insulation in boiler room | 10099.9385 | LS |  | 0
| Elevator | Hoistway: Update certification and inspection certificates | Elevator inspections are required by the State Fire Marshal and other local agencies having jurisdiction | Elevator upgrade | 60589.8921 | EA |  | 0
|  | Elevator Landings: Update hoistway level signs, call buttons, visual and audible call signals, repair threshold to comply with accessibility standards | Elevator evaluation should be completed by a consultant who specializes in elevators in order to identify the required renovations specific to each property |  | #N/A | #N/A |  | #N/A
|  | Cab: Update finishes, threshold, lighting, grab bars, call buttons, emergency control panel, visual and audible call indicators as required | CBC Chapter 11B required elevator cars to be accessible |  | #N/A | #N/A |  | #N/A
| Energy Efficiency Upgrades | Replace all windows with low-e, double-pane type | Optional upgrade to achieve 10% energy efficiency | Replace windows with dbl-pane (48 SF/EA) | 105.0192 | EA |  | 0
|  | Replace PTACs with new high-efficiency variable refrigerant flow (VRF) systems | Optional upgrade to achieve 10% energy efficiency: would replace Tier 2 HVAC replacement | Replace PTAC | 8078.3755 | EA |  | 0
|  | Replace all indoor and outdoor lighting with LED system | Optional upgrade to achieve 10% energy efficiency: would replace Tier 2 lighting replacements | Repair exterior luminaire | 1514.7108 | EA |  | 0
|  |  |  | Replace ceiling luminaire | 575.5971 | EA |  | 0
|  |  |  | Replace exterior area light | 3837.2839 | EA |  | 0
|  |  |  | Replace wall sconce | 696.773 | EA |  | 0
|  | Add energy management system (EMS) with direct digital controls (DDC) for HVAC, plumbing equipment and lighting | Optional upgrade to achieve 10% energy efficiency: would replace Tier 2 controls replacement | Dynamic digital controls (lighting) | 70685.825 | Bldg |  | 0
|  |  |  | Dynamic digital controls (mech & plumbing) | 3.2314 | SF |  | 0
| Landscaping | Replace all landscaping using low water plant and tree species | Option upgrade to achieve reduced energy consumption: would replace Tier 1 & 2 landscape replacements | Landscaping (plants, grass, irrigation) | 12.1176 | SF |  | 0
100 | units (Tier 3) |  |  | TIER 3 SUBTOTAL |  |  |  | #N/A | #N/A
GRAND TOTAL | [7 empty] | #N/A

## Lookup
Description | Division | Unit | Unit Cost | Source
(4) 2#12, 1#12 in existing conduits to units | 26 | LF | 2.8274 | Motel 6 Corona estimate
1" conduit from subpanel to kitchen | 26 | LF | 32.3136 | Motel 6 Corona estimate
1-ply roofing | 7 | SF | 22.2156 | Motel 6 Corona estimate
2" AC overlay | 32 | SY | 2.5245 | Motel 6 Corona estimate
A/C pavement 3"/8" AB | 32 | SF | 12.1176 | Motel 6 Oakland estimate
Add aerator to faucet | 22 | EA | 50.49 | Motel 6 Corona estimate
Add attic access in bathroom | 8 | EA | 2423.5418 | Motel 6 Corona estimate
Add peep-hole in door | 8 | EA | 505.0009 | Motel 6 Fairfield estimate
Add pipe insulation | 7 | LF | 44.4312 | Motel 6 Corona estimate
Add pipe insulation in boiler room | 7 | LS | 10099.9385 | Motel 6 Fairfield estimate
Anchor electrical switchboard | 26 | EA | 2423.9906 | Motel 6 Fairfield estimate
Anchor rooftop AC to structure | 23 | EA | 2423.8335 | Motel 6 Sacramento estimate
Attic insulation | 7 | SF | 3.0855 | Motel 6 Corona estimate
Backflow 2" | 32 | EA | 5771.7236 | Motel 6 Corona estimate
Backflow 4" | 32 | EA | 14866.0026 | Motel 6 Corona estimate
Backflow 6" | 32 | EA | 36284.5171 | Motel 6 Corona estimate
Bathroom accessories | 10 | LS | 1716.6708 | Motel 6 Corona estimate
Breaker | 26 | EA | 403.9199 | Motel 6 Corona estimate
Breakers 3ph at subpanel 200A | 26 | EA | 5049.0548 | Motel 6 Corona estimate
Breakers 3ph for main switchboard | 26 | EA | 4308.5238 | Motel 6 Corona estimate
Carbon monoxide detector | 27 | EA | 146.421 | Home Depot + tax, x 3
CAT6 receptacle | 27 | EA | 1262.2609 | Motel 6 Corona estimate
CCTV camera | 28 | EA | 17166.7752 | Motel 6 Corona estimate
Circuits from subpanel 8#4, #8 GND in 2" GRC | 26 | LF | 71.5948 | Motel 6 Corona estimate
Close laundry chute opening | 1 | EA | 11933.589 | Motel 6 Fairfield estimate
Clothes dryer | 11 | EA | 6866.7056 | Motel 6 Corona estimate
Conc pavement 6"/6" AB | 32 | SF | 27.2646 | Motel 6 Corona estimate
Conc pavement ped 4"/4" AB | 32 | SF | 17.1666 | Motel 6 Corona estimate
Conc ramp | 32 | SF | 36.3528 | Motel 6 Corona estimate
Concrete V-gutter | 32 | SF | 24.2352 | Motel 6 Corona estimate
Convert std bathroom & vest. to accessible | 1 | EA | 37037.2106 | Motel 6 Fairfield estimate
Convert std bathroom & vest. to kitchen incl appliances, receptacles, lighting, plumbing, exhaust | 1 | EA | 18298.6934 | Motel 6 Fairfield estimate
Curb and gutter replace | 32 | LF | 59.5782 | Motel 6 Oakland estimate
Decorative metal fence 6'H | 32 | LF | 212.0579 | Motel 6 Corona estimate
Decorative metal fence pool area - replace | 32 | LF | 161.568 | Motel 6 Oceanside estimate
Decorative metal ped gate | 32 | EA | 2423.5418 | Motel 6 Corona estimate
Decorative metal veh gate | 32 | EA | 39382.5939 | Motel 6 Corona estimate
Demo wall | 2 | SF | 26.2548 | Motel 6 Sacramento estimate
Dishwasher | 11 | EA | 2423.9906 | Motel 6 Oakland estimate
Door bell | 26 | EA | 706.871 | Motel 6 Corona estimate
Doorway opening | 1 | EA | 4700.0568 | Motel 6 Fairfield estimate
Draft stopping in attic | 6 | SF | 70.686 | Motel 6 Corona estimate
Dynamic digital controls (lighting) | 25 | Bldg | 70685.825 | Motel 6 Oakland estimate
Dynamic digital controls (mech & plumbing) | 25 | SF | 3.2314 | Motel 6 Oakland estimate
Electrical connection for laundry machines | 26 | EA | 1514.7108 | Motel 6 Corona estimate
Electrical receptacle | 26 | EA | 1817.662 | Motel 6 Corona estimate
Elevator upgrade | 14 | EA | 60589.8921 | Motel 6 Oceanside estimate
Entry system w/ card reader | 28 | EA | 13531.4624 | Motel 6 Corona estimate
Feeders to (e) switchboard 4#350, 1#3/0 GND in 4" GRC | 26 | LF | 205.1015 | Motel 6 Corona estimate
Feeders to (N) switchboard 4#600, #1/0 GND in 4" GRC | 26 | LF | 252.349 | Motel 6 Corona estimate
Feeders to subpanel 4#2, #8 GND in 2" GRC | 26 | LF | 71.5948 | Motel 6 Corona estimate
Fire alarm & elect connection for fire/smoke damper | 28 | EA | 1615.7357 | Motel 6 Oceanside estimate
Fire alarm device | 27 | EA | 1817.662 | Motel 6 Corona estimate
Fire Hydrant | 33 | EA | 5344.9261 | Motel 6 Fairfield estimate
Fire water line, 6"-12" dia w/ AC paving o/trench | 33 | LF | 222.1559 | Motel 6 Corona estimate
Fire-rated door | 8 | EA | 8482.4076 | Motel 6 Corona estimate
Fire-rated wall | 9 | SF | 40.392 | Motel 6 Corona estimate
Guardrail 42"-H | 5 | LF | 150.146 | Motel 6 Corona estimate
Infill doorway opening (exterior) | 9 | EA | 1272.6027 | Motel 6 Fairfield estimate
Infill risers w/ grates | 5 | Riser | 428.5478 | Motel 6 Corona estimate
Install fire sprinklers | 21 | SF | 20.196 | Motel 6 Corona estimate
Install grab bar | 10 | EA | 454.4211 | Motel 6 Corona estimate
Interior luminaire | 26 | EA | 1312.7509 | Motel 6 Corona estimate
Kitchen cabinets | 10 | LF | 1211.7709 | Motel 6 Corona estimate
Kitchen sink | 22 | EA | 1514.7333 | Motel 6 Corona estimate
Landscaping (plants, grass, irrigation) | 32 | SF | 12.1176 | Motel 6 Oakland estimate
Laundry vending machine (incl elect conn) | 13 | EA | 3119.2041 | Motel 6 Corona estimate
Lavatory | 22 | EA | 5856.9058 | Motel 6 Corona estimate
Main switchboard, 2000A 3ph 120/208V | 26 | EA | 14339.3022 | Motel 6 Corona estimate
MERV-13 filter at fan coil unit | 23 | EA | 504.8999 | Motel 6 Corona estimate
New connecting door (incl framing, finish repaur, elect, etc.) | 8 | EA | 3970.3196 | Motel 6 Corona estimate
New sign | 10 | EA | 403.9311 | Motel 6 Corona estimate
New window with new opening | 8 | SF | 191.8956 | Motel 6 Fairfield estimate
Paint railing | 9 | LF | 24.2352 | Motel 6 Oakland estimate
Pipe rail, wall-mtd | 5 | LF | 71.2919 | Motel 6 Corona estimate
Plumbing connection | 22 | EA | 403.9199 | Motel 6 Corona estimate
PV Carport | 26 | SF | 169.6464 | Motel 6 Corona estimate
PV system | 26 | KW | 6028.5718 | Motel 6 Corona estimate
Ramp handrails | 5 | LF | 171.666 | Motel 6 Corona estimate
Range hood (incl elect & exhaust) | 11 | EA | 6462.7071 | Motel 6 Oakland estimate
Reconnect elect devices at rated wall | 26 | LS | 10098.0984 | Motel 6 Corona estimate
Refrigerator | 11 | EA | 2423.9906 | Motel 6 Fairfield estimate
Relocate door latch | 8 | EA | 605.8911 | Motel 6 Corona estimate
Relocate light switch | 26 | EA | 1514.7221 | Motel 6 Corona estimate
Relocate thermostat | 23 | EA | 605.8798 | Motel 6 Corona estimate
Relocate toilet | 22 | EA | 7068.6655 | Motel 6 Corona estimate
Remove and replace electrical cabling & equip on roof | 26 | LS | 24235.4519 | Motel 6 Corona estimate
Remove bituminous membrane roofing | 2 | SF | 9.0882 | Motel 6 Corona estimate
Remove commercial laundry elect connections | 26 | EA | 656.3698 | Motel 6 Corona estimate
Remove employee restroom | 2 | LS | 2491.9614 | Motel 6 Oakland estimate
Remove equipment (kitchen, laundry, vending, etc.) | 2 | EA | 363.5952 | Motel 6 Fairfield estimate
Remove existing motel sign - fascia | 2 | SF | 16.1568 | Motel 6 Corona estimate
Remove existing motel sign - monument | 2 | EA | 8079.9575 | Motel 6 Fairfield estimate
Remove existing motel sign - pylon 30' | 2 | EA | 7068.6768 | Motel 6 Corona estimate
Remove existing motel sign - pylon 75' | 2 | EA | 8078.398 | Motel 6 Oakland estimate
Remove pool deck | 2 | SF | 6.4627 | Motel 6 Corona estimate
Remove pool equipment | 2 | LS | 5049.0324 | Motel 6 Corona estimate
Remove pool, backfill & compact | 2 | LS | 56549.9077 | Motel 6 Corona estimate
Repaint | 9 | SF | 15.147 | Motel 6 Oakland estimate
Repair concrete floor | 3 | SF | 39.5841 | Motel 6 Corona estimate
Repair exterior luminaire | 26 | EA | 1514.7108 | Motel 6 Corona estimate
Repair rusted railings | 5 | LF | 161.568 | Motel 6 Corona estimate
Replace 120-gal HW storage tank | 22 | EA | 4645.9764 | Motel 6 Fairfield estimate
Replace 250-gal HW storage tank | 22 | EA | 19186.4083 | Motel 6 Corona estimate
Replace 600 MBH boiler | 22 | EA | 137334.179 | Motel 6 Corona estimate
Replace 60-ton chiller | 23 | EA | 197922.7919 | Motel 6 Corona estimate
Replace air filter | 23 | EA | 121.176 | Motel 6 Corona estimate
Replace bathroom exhaust fan | 23 | EA | 727.067 | Motel 6 Corona estimate
Replace ceiling luminaire | 26 | EA | 575.5971 | Motel 6 Corona estimate
Replace circuit breaker | 26 | EA | 676.577 | Motel 6 Corona estimate
Replace concrete walk | 32 | SF | 17.1666 | Motel 6 Corona estimate
Replace door hardware | 8 | EA | 444.3231 | Motel 6 Corona estimate
Replace door lock | 8 | EA | 605.9023 | Motel 6 Oceanside estimate
Replace door threshold | 8 | EA | 302.9399 | Motel 6 Corona estimate
Replace door with hardware | 8 | EA | 959.321 | Motel 6 Corona estimate
Replace downspouts | 7 | LF | 24.2352 | Motel 6 Corona estimate
Replace exterior area light | 26 | EA | 3837.2839 | Motel 6 Corona estimate
Replace flooring w/ PLAM | 9 | SF | 46.4508 | Motel 6 Corona estimate
Replace grab bar | 10 | EA | 353.4299 | Motel 6 Corona estimate
Replace HW pump 7.5 HP | 22 | EA | 5049.0436 | Motel 6 Corona estimate
Replace illuminated exit sign | 26 | EA | 1514.7445 | Motel 6 Oceanside estimate
Replace mop sink | 22 | EA | 656.3811 | Motel 6 Corona estimate
Replace PTAC | 23 | EA | 8078.3755 | Motel 6 Oakland estimate
Replace storefront door | 8 | EA | 2221.5819 | Motel 6 Corona estimate
Replace wall sconce | 26 | EA | 696.773 | Motel 6 Corona estimate
Replace water softener system | 22 | Unit | 1066.6859 | Motel 6 Oakland estimate
Replace windows with dbl-pane (48 SF/EA) | 8 | EA | 105.0192 | Motel 6 Corona estimate
Reposition light switch | 26 | EA | 605.8798 | Motel 6 Corona estimate
Reposition toilet (1") | 22 | EA | 474.6059 | Motel 6 Corona estimate
Roof guardrails | 7 | LF | 111.1004 | Motel 6 Fairfield estimate
Seal penetration in wall | 9 | EA | 454.4099 | Motel 6 Corona estimate
Seismic framing for fire sprinkler system | 6 | EA | 3.9925 | Motel 6 Oakland estimate
Seismic joint at roof or walkway | 6 | EA | 33575.748 | Motel 6 Oakland estimate
Seismic Retrofit - Add 30' deep foundations with grade beams at all bearing and shear walls | 3 | SF | 19.7942 | Motel 6 Oakland estimate
Seismic Retrofit - Add additional nails and straps to roofs and floors | 6 | SF | 16.8737 | Motel 6 Oakland estimate
Seismic Retrofit - Add nails, sill bolts, and hold-downs at shear walls | 6 | SF | 9.9319 | Motel 6 Oakland estimate
Stove (incl elect) | 11 | EA | 5048.9763 | Motel 6 Oakland estimate
Subpanel 200A 3ph 42 bkrs | 26 | EA | 8347.0944 | Motel 6 Corona estimate
Tables (for laundry folding) | 12 | EA | 1716.9962 | Motel 6 Fairfield estimate
Transformer 500 kVA | 26 | EA | 2928.4417 | Motel 6 Corona estimate
Under-lavatory pipe protection | 10 | EA | 262.604 | Motel 6 Fairfield estimate
Visual alarm (Fire, CO) | 27 | EA | 1009.811 | Motel 6 Corona estimate
Visual alarm (Smoke) | 27 | EA | 1817.6508 | Motel 6 Corona estimate
Washing machine | 11 | EA | 2978.9429 | Motel 6 Corona estimate
Water line connection | 33 | LS | 5251.0372 | Motel 6 Corona estimate
Xeriscape | 32 | SF | 8.0784 | Motel 6 Oakland estimate

## Lookup 2020-06
Description | Division | Unit | Unit Cost | Source
(4) 2#12, 1#12 in existing conduits to units | 26 | LF | 2.52 | Motel 6 Corona estimate
1" conduit from subpanel to kitchen | 26 | LF | 28.8 | Motel 6 Corona estimate
1-ply roofing | 7 | SF | 19.8 | Motel 6 Corona estimate
2" AC overlay | 32 | SY | 2.25 | Motel 6 Corona estimate
A/C pavement 3"/8" AB | 32 | SF | 10.8 | Motel 6 Oakland estimate
Add aerator to faucet | 22 | EA | 45 | Motel 6 Corona estimate
Add attic access in bathroom | 8 | EA | 2160.02 | Motel 6 Corona estimate
Add peep-hole in door | 8 | EA | 450.09 | Motel 6 Fairfield estimate
Add pipe insulation | 7 | LF | 39.6 | Motel 6 Corona estimate
Add pipe insulation in boiler room | 7 | LS | 9001.73 | Motel 6 Fairfield estimate
Anchor electrical switchboard | 26 | EA | 2160.42 | Motel 6 Fairfield estimate
Anchor rooftop AC to structure | 23 | EA | 2160.28 | Motel 6 Sacramento estimate
Attic insulation | 7 | SF | 2.75 | Motel 6 Corona estimate
Backflow 2" | 32 | EA | 5144.14 | Motel 6 Corona estimate
Backflow 4" | 32 | EA | 13249.56 | Motel 6 Corona estimate
Backflow 6" | 32 | EA | 32339.15 | Motel 6 Corona estimate
Bathroom accessories | 10 | LS | 1530.01 | Motel 6 Corona estimate
Breaker | 26 | EA | 360 | Motel 6 Corona estimate
Breakers 3ph at subpanel 200A | 26 | EA | 4500.05 | Motel 6 Corona estimate
Breakers 3ph for main switchboard | 26 | EA | 3840.04 | Motel 6 Corona estimate
Carbon monoxide detector | 27 | EA | 130.5 | Home Depot + tax, x 3
CAT6 receptacle | 27 | EA | 1125.01 | Motel 6 Corona estimate
CCTV camera | 28 | EA | 15300.16 | Motel 6 Corona estimate
Circuits from subpanel 8#4, #8 GND in 2" GRC | 26 | LF | 63.81 | Motel 6 Corona estimate
Close laundry chute opening | 1 | EA | 10636 | Motel 6 Fairfield estimate
Clothes dryer | 11 | EA | 6120.06 | Motel 6 Corona estimate
Conc pavement 6"/6" AB | 32 | SF | 24.3 | Motel 6 Corona estimate
Conc pavement ped 4"/4" AB | 32 | SF | 15.3 | Motel 6 Corona estimate
Conc ramp | 32 | SF | 32.4 | Motel 6 Corona estimate
Concrete V-gutter | 32 | SF | 21.6 | Motel 6 Corona estimate
Convert std bathroom & vest. to accessible | 1 | EA | 33010 | Motel 6 Fairfield estimate
Convert std bathroom & vest. to kitchen incl appliances, receptacles, lighting, plumbing, exhaust | 1 | EA | 16309 | Motel 6 Fairfield estimate
Curb and gutter replace | 32 | LF | 53.1 | Motel 6 Oakland estimate
Decorative metal fence 6'H | 32 | LF | 189 | Motel 6 Corona estimate
Decorative metal fence pool area - replace | 32 | LF | 144 | Motel 6 Oceanside estimate
Decorative metal ped gate | 32 | EA | 2160.02 | Motel 6 Corona estimate
Decorative metal veh gate | 32 | EA | 35100.36 | Motel 6 Corona estimate
Demo wall | 2 | SF | 23.4 | Motel 6 Sacramento estimate
Dishwasher | 11 | EA | 2160.42 | Motel 6 Oakland estimate
Door bell | 26 | EA | 630.01 | Motel 6 Corona estimate
Doorway opening | 1 | EA | 4189 | Motel 6 Fairfield estimate
Draft stopping in attic | 6 | SF | 63 | Motel 6 Corona estimate
Dynamic digital controls (lighting) | 25 | Bldg | 62999.86 | Motel 6 Oakland estimate
Dynamic digital controls (mech & plumbing) | 25 | SF | 2.88 | Motel 6 Oakland estimate
Electrical connection for laundry machines | 26 | EA | 1350.01 | Motel 6 Corona estimate
Electrical receptacle | 26 | EA | 1620.02 | Motel 6 Corona estimate
Elevator upgrade | 14 | EA | 54001.7 | Motel 6 Oceanside estimate
Entry system w/ card reader | 28 | EA | 12060.13 | Motel 6 Corona estimate
Feeders to (e) switchboard 4#350, 1#3/0 GND in 4" GRC | 26 | LF | 182.8 | Motel 6 Corona estimate
Feeders to (N) switchboard 4#600, #1/0 GND in 4" GRC | 26 | LF | 224.91 | Motel 6 Corona estimate
Feeders to subpanel 4#2, #8 GND in 2" GRC | 26 | LF | 63.81 | Motel 6 Corona estimate
Fire alarm & elect connection for fire/smoke damper | 28 | EA | 1440.05 | Motel 6 Oceanside estimate
Fire alarm device | 27 | EA | 1620.02 | Motel 6 Corona estimate
Fire Hydrant | 33 | EA | 4763.75 | Motel 6 Fairfield estimate
Fire water line, 6"-12" dia w/ AC paving o/trench | 33 | LF | 198 | Motel 6 Corona estimate
Fire-rated door | 8 | EA | 7560.08 | Motel 6 Corona estimate
Fire-rated wall | 9 | SF | 36 | Motel 6 Corona estimate
Guardrail 42"-H | 5 | LF | 133.82 | Motel 6 Corona estimate
Infill doorway opening (exterior) | 9 | EA | 1134.2273 | Motel 6 Fairfield estimate
Infill risers w/ grates | 5 | Riser | 381.95 | Motel 6 Corona estimate
Install fire sprinklers | 21 | SF | 18 | Motel 6 Corona estimate
Install grab bar | 10 | EA | 405.01 | Motel 6 Corona estimate
Interior luminaire | 26 | EA | 1170.01 | Motel 6 Corona estimate
Kitchen cabinets | 10 | LF | 1080.01 | Motel 6 Corona estimate
Kitchen sink | 22 | EA | 1350.03 | Motel 6 Corona estimate
Landscaping (plants, grass, irrigation) | 32 | SF | 10.8 | Motel 6 Oakland estimate
Laundry vending machine (incl elect conn) | 13 | EA | 2780.04 | Motel 6 Corona estimate
Lavatory | 22 | EA | 5220.06 | Motel 6 Corona estimate
Main switchboard, 2000A 3ph 120/208V | 26 | EA | 12780.13 | Motel 6 Corona estimate
MERV-13 filter at fan coil unit | 23 | EA | 450 | Motel 6 Corona estimate
New connecting door (incl framing, finish repaur, elect, etc.) | 8 | EA | 3538.6102 | Motel 6 Corona estimate
New sign | 10 | EA | 360.01 | Motel 6 Corona estimate
New window with new opening | 8 | SF | 171.03 | Motel 6 Fairfield estimate
Paint railing | 9 | LF | 21.6 | Motel 6 Oakland estimate
Pipe rail, wall-mtd | 5 | LF | 63.54 | Motel 6 Corona estimate
Plumbing connection | 22 | EA | 360 | Motel 6 Corona estimate
PV Carport | 26 | SF | 151.2 | Motel 6 Corona estimate
PV system | 26 | KW | 5373.06 | Motel 6 Corona estimate
Ramp handrails | 5 | LF | 153 | Motel 6 Corona estimate
Range hood (incl elect & exhaust) | 11 | EA | 5759.99 | Motel 6 Oakland estimate
Reconnect elect devices at rated wall | 26 | LS | 9000.09 | Motel 6 Corona estimate
Refrigerator | 11 | EA | 2160.42 | Motel 6 Fairfield estimate
Relocate door latch | 8 | EA | 540.01 | Motel 6 Corona estimate
Relocate light switch | 26 | EA | 1350.02 | Motel 6 Corona estimate
Relocate thermostat | 23 | EA | 540 | Motel 6 Corona estimate
Relocate toilet | 22 | EA | 6300.06 | Motel 6 Corona estimate
Remove and replace electrical cabling & equip on roof | 26 | LS | 21600.23 | Motel 6 Corona estimate
Remove bituminous membrane roofing | 2 | SF | 8.1 | Motel 6 Corona estimate
Remove commercial laundry elect connections | 26 | EA | 585 | Motel 6 Corona estimate
Remove employee restroom | 2 | LS | 2221 | Motel 6 Oakland estimate
Remove equipment (kitchen, laundry, vending, etc.) | 2 | EA | 324.06 | Motel 6 Fairfield estimate
Remove existing motel sign - fascia | 2 | SF | 14.4 | Motel 6 Corona estimate
Remove existing motel sign - monument | 2 | EA | 7201.39 | Motel 6 Fairfield estimate
Remove existing motel sign - pylon 30' | 2 | EA | 6300.07 | Motel 6 Corona estimate
Remove existing motel sign - pylon 75' | 2 | EA | 7200 | Motel 6 Oakland estimate
Remove pool deck | 2 | SF | 5.76 | Motel 6 Corona estimate
Remove pool equipment | 2 | LS | 4500.03 | Motel 6 Corona estimate
Remove pool, backfill & compact | 2 | LS | 50401 | Motel 6 Corona estimate
Repaint | 9 | SF | 13.5 | Motel 6 Oakland estimate
Repair concrete floor | 3 | SF | 35.28 | Motel 6 Corona estimate
Repair exterior luminaire | 26 | EA | 1350.01 | Motel 6 Corona estimate
Repair rusted railings | 5 | LF | 144 | Motel 6 Corona estimate
Replace 120-gal HW storage tank | 22 | EA | 4140.8 | Motel 6 Fairfield estimate
Replace 250-gal HW storage tank | 22 | EA | 17100.19 | Motel 6 Corona estimate
Replace 600 MBH boiler | 22 | EA | 122401.26 | Motel 6 Corona estimate
Replace 60-ton chiller | 23 | EA | 176401.82 | Motel 6 Corona estimate
Replace air filter | 23 | EA | 108 | Motel 6 Corona estimate
Replace bathroom exhaust fan | 23 | EA | 648.01 | Motel 6 Corona estimate
Replace ceiling luminaire | 26 | EA | 513.01 | Motel 6 Corona estimate
Replace circuit breaker | 26 | EA | 603.01 | Motel 6 Corona estimate
Replace concrete walk | 32 | SF | 15.3 | Motel 6 Corona estimate
Replace door hardware | 8 | EA | 396.01 | Motel 6 Corona estimate
Replace door lock | 8 | EA | 540.02 | Motel 6 Oceanside estimate
Replace door threshold | 8 | EA | 270 | Motel 6 Corona estimate
Replace door with hardware | 8 | EA | 855.01 | Motel 6 Corona estimate
Replace downspouts | 7 | LF | 21.6 | Motel 6 Corona estimate
Replace exterior area light | 26 | EA | 3420.04 | Motel 6 Corona estimate
Replace flooring w/ PLAM | 9 | SF | 41.4 | Motel 6 Corona estimate
Replace grab bar | 10 | EA | 315 | Motel 6 Corona estimate
Replace HW pump 7.5 HP | 22 | EA | 4500.04 | Motel 6 Corona estimate
Replace illuminated exit sign | 26 | EA | 1350.04 | Motel 6 Oceanside estimate
Replace mop sink | 22 | EA | 585.01 | Motel 6 Corona estimate
Replace PTAC | 23 | EA | 7199.98 | Motel 6 Oakland estimate
Replace storefront door | 8 | EA | 1980.02 | Motel 6 Corona estimate
Replace wall sconce | 26 | EA | 621.01 | Motel 6 Corona estimate
Replace water softener system | 22 | Unit | 950.7007 | Motel 6 Oakland estimate
Replace windows with dbl-pane (48 SF/EA) | 8 | EA | 93.6 | Motel 6 Corona estimate
Reposition light switch | 26 | EA | 540 | Motel 6 Corona estimate
Reposition toilet (1") | 22 | EA | 423 | Motel 6 Corona estimate
Roof guardrails | 7 | LF | 99.02 | Motel 6 Fairfield estimate
Seal penetration in wall | 9 | EA | 405 | Motel 6 Corona estimate
Seismic framing for fire sprinkler system | 6 | EA | 3.5584 | Motel 6 Oakland estimate
Seismic joint at roof or walkway | 6 | EA | 29924.9167 | Motel 6 Oakland estimate
Seismic Retrofit - Add 30' deep foundations with grade beams at all bearing and shear walls | 3 | SF | 17.6419 | Motel 6 Oakland estimate
Seismic Retrofit - Add additional nails and straps to roofs and floors | 6 | SF | 15.039 | Motel 6 Oakland estimate
Seismic Retrofit - Add nails, sill bolts, and hold-downs at shear walls | 6 | SF | 8.852 | Motel 6 Oakland estimate
Stove (incl elect) | 11 | EA | 4499.98 | Motel 6 Oakland estimate
Subpanel 200A 3ph 42 bkrs | 26 | EA | 7439.48 | Motel 6 Corona estimate
Tables (for laundry folding) | 12 | EA | 1530.3 | Motel 6 Fairfield estimate
Transformer 500 kVA | 26 | EA | 2610.02 | Motel 6 Corona estimate
Under-lavatory pipe protection | 10 | EA | 234.05 | Motel 6 Fairfield estimate
Visual alarm (Fire, CO) | 27 | EA | 900.01 | Motel 6 Corona estimate
Visual alarm (Smoke) | 27 | EA | 1620.01 | Motel 6 Corona estimate
Washing machine | 11 | EA | 2655.03 | Motel 6 Corona estimate
Water line connection | 33 | LS | 4680.07 | Motel 6 Corona estimate
Xeriscape | 32 | SF | 7.2 | Motel 6 Oakland estimate

## CCCI
Date | CCCI
2020-06-01 | 7041
2021-09-01 | 7900
Change | 112.2%