HPRP Housing Habitability Standards

Inspection Checklist

About this Tool The standards for housing unit inspections under HPRP are the housing habitability standards described in Appendix C of the HPRP Notice. These standards apply only when a program participant is receiving financial assistance and moving into a new (different) unit. Inspections must be conducted upon initial occupancy and then on an annual basis for the term of HPRP assistance. The habitability standards are different from the Housing Quality Standards (HQS) used for other HUD programs. Because the HQS criteria are more stringent than the habitability standards, a grantee could use either standard. In contrast to HQS inspections, the habitability standards do not require a certified inspector. As such, HPRP program staff could conduct the inspections, using a form such as this one to document compliance.

Instructions: Mark each statement as ‘A’ for approved or ‘D’ for deficient.  The property must meet all standards in order to be approved.  A copy of this checklist should be placed in the client file.

| Approved or Deficient | Element |
| --- | --- |
|  | - Structure and materials: The structures must be structurally sound so as not to pose any threat to the health and safety of the occupants and so as to protect the residents from hazards. |
|  | - Access: The housing must be accessible and capable of being utilized without unauthorized use of other private properties. Structures must provide alternate means of egress in case of fire. |
|  | - Space and security: Each resident must be afforded adequate space and security for themselves and their belongings. Each resident must be provided with an acceptable place to sleep. |
|  | - Interior air quality: Every room or space must be provided with natural or mechanical ventilation. Structures must be free of pollutants in the air at levels that threaten the health of residents. |
|  | - Water Supply: The water supply must be free from contamination. |
|  | - Sanitary Facilities: Residents must have access to sufficient sanitary facilities that are in proper operating condition, may be used in privacy, and are adequate for personal cleanliness and the disposal of human waste. |
|  | - Thermal environment: The housing must have adequate heating and/or cooling facilities in proper operating condition. |
|  | - Illumination and electricity: The housing must have adequate natural or artificial illumination to permit normal indoor activities and to support the health and safety of residents. Sufficient electrical sources must be provided to permit use of essential electrical appliances while assuring safety from fire. |
|  | - Food preparation and refuse disposal: All food preparation areas must contain suitable space and equipment to store, prepare, and serve food in a sanitary manner. |
|  | - Sanitary condition: The housing and any equipment must be maintained in sanitary condition. |
|  | - Fire safety: Both conditions below must be met to meet this standard. |
|  | - Each unit must include at least one battery-operated or hard-wired smoke detector, in proper working condition, on each occupied level of the unit. Smoke detectors must be located, to the extent practicable, in a hallway adjacent to a bedroom. If the unit is occupied by hearing-impaired persons, smoke detectors must have an alarm system designed for hearing-impaired persons in each bedroom occupied by a hearing-impaired person. |
|  | - The public areas of all housing must be equipped with a sufficient number, but not less than one for each area, of battery-operated or hard-wired smoke detectors. Public areas include, but are not limited to, laundry rooms, day care centers, hallways, stairwells, and other common areas. |

(Source: U.S. Department of Housing and Urban Development, Docket No. FR-5307-N-01, Notice of Allocations, Application Procedures, and Requirements for Homelessness Prevention and Rapid Re-Housing Grantees under the Recovery Act)

# CERTIFICATION STATEMENT

I certify that I am not a HUD certified inspector and I have evaluated the property located at the address below to the best of my ability and find the following:

Property meets all of the above standards.

Property does not meet all of the above standards.

Therefore, I make the following determination:

Property is approved.

Property is not approved.

Case Name:

Street Address:

Apartment:         City:         State:         Zip:

Evaluator’s Signature:  	                                                             Date:

Please Print. Name:

CBO Exec. Dir. Initial: