# DRAFT - HCD Focus Group Meeting Document

Legend:

*Text in single underline is proposed new text.

*Text in single strikeout is proposed deleted text.

## Title 25. Housing and Community Development

## Division 1. Housing and Community Development

## Chapter 2.2. Special Occupancy Parks

### § 2002. Definitions

…

(c) -C-

(1) Cabana, MH-unit Lot. A freestanding accessory building or structure, or building component of an MH-unit, located immediately adjacent to and intended to increase the usable area of that unit, which is a portable, demountable, or permanent room enclosure or other building generally erected or constructed for habitation. A cabana on a MH-unit lot may include closets, pantries, bath or toilet rooms, service rooms, connecting corridors, laundries, storage spaces, utility rooms, and similar spaces. The total floor area of a cabana(s) on a lot shall not exceed the total floor area of the unit to which it is an accessory.

(2) Cabana, Lot. A freestanding cabana of no more than 120 square feet in floor area may be located on a recreational vehicle, tent, camp car, camping party, or camping cabin lot as a private bathroom or toilet room only, and shall not contain cooking appliances, or be used as a kitchen, dining room, or sleeping room.

…

### § 2118. Lot Occupancy

…

(c) A permanent building, garage, cabana, or storage building shall not be constructed or installed on any lot in a park.

Exceptions:

(1) A freestanding cabana of no more than 120 square feet in floor area may be located on a lot for the use of a recreational vehicle, tent, camping cabin, camp car, or camping party as a private bathroom or toilet room only, and shall not contain cooking appliances, or be used as a kitchen, dining room, or sleeping room.

(2) A cabana on a MH-unit lot may include closets, pantries, bath or toilet rooms, service rooms, connecting corridors, laundries, storage spaces, utility rooms, and similar spaces. The total floor area of a cabana(s) on a lot shall not exceed the total floor area of the unit to which it is an accessory.

…

(h) The following shall apply in parks designated as tent camps.

…

(4) A freestanding cabana of no more than 120 square feet in floor area may be located on a tent camp lot as a private bathroom or toilet room only, and shall not contain cooking appliances, or be used as a kitchen, dining room, or sleeping room.

...

### § 2424. Regulated Structures

…

(c) Cabanas, garages and storage buildings shall not be constructed or installed in special occupancy parks except on lots designated for MH-Units as specified in section 2118 of this chapter.

…

### § 2443. Private Garages, Cabanas, and Storage Buildings

(a) Garages, cabanas and storage buildings shall be located only on lots designated for manufactured homes or mobilehomes in accordance with section 2118.

…

### § 2444. Cabanas

(a) Cabanas shall be located only on lots designated for manufactured homes or mobilehomes in accordance with section 2118.

…