# INITIAL EXPRESS TERMS

# CALIFORNIA DEPARTMENT OF HOUSING AND COMMUNITY DEVELOPMENT   DIVISION OF CODES AND STANDARDS

# SPECIAL OCCUPANCY PARKS PROGRAM

# CALIFORNIA CODE OF REGULATIONS

# TITLE 25 HOUSING AND COMMUNITY DEVELOPMENT

# DIVISION 1. CHAPTER 2.2

# SECTIONS 2002 THROUGH 2444, NOT CONSECUTIVE

This document uses strikeout and underline to specify text changes. If using assistive technology, please adjust your settings to recognize underline, strikeout and ellipsis.

Legend:

*Text in single underline is proposed new text.

*Text in single strikeout is deleted text.

## Title 25. Housing and Community Development

## Division 1. Housing and Community Development

## Chapter 2.2. Special Occupancy Parks

## Article 1. Administration and Enforcement

## 1. Amend Section 2002.

### § 2002. Definitions

…

(c) -C-

(1) Cabana, MH-unit Lot. A freestanding accessory building or structure, or building component of an MH-unit, located immediately adjacent to and intended to increase the usable area of that unit, which is a portable, demountable, or permanent room enclosure or other building generally erected or constructed for habitation. A cabana on a MH-unit lot may include closets, pantries, bath or toilet rooms, service rooms, connecting corridors, laundries, storage spaces, utility rooms, and similar spaces. The total floor area of a cabana(s) on a lot shall not exceed the total floor area of the unit to which it is an accessory.

(2) Cabana, Lot. A freestanding cabana of no more than 120 square feet in floor area may be located on a recreational vehicle, tent, camp car, camping party, or camping cabin lot as a private bathroom or toilet room only, and shall not contain cooking appliances, or be used as a kitchen, dining room, or sleeping room.

(2) (3) California Building Code. California Code of Regulations, Title 24, Part 2, as adopted and published by the California Building Standards Commission.

(3) (4) California Electrical Code. California Code of Regulations, Title 24, Part 3, as adopted and published by the California Building Standards Commission.

(4) (5) California Fire Code. California Code of Regulations, Title 24, Part 9, as adopted and published by the California Building Standards Commission.

(5) (6) California Mechanical Code. California Code of Regulations, Title 24, Part 4, as adopted and published by the California Building Standards Commission.

(6) (7) California Plumbing Code. California Code of Regulations, Title 24, Part 5, as adopted and published by the California Building Standards Commission.

(7) (8) California Residential Code. California Code of Regulations, Title 24, Part 2.5, as adopted and published by the California Building Standards Commission.

(8) (9) Camping Area. Any area or tract of land where one or more lots or campsites are rented or leased or held out for rent or lease to accommodate camping parties.

(9) (10) Camping Cabin. A relocatable hard-sided shelter, for use by a camping party, as defined in Health and Safety Code section 18862.5. All camping cabins are dependent units.

(10) (11) Camping Party. A person or group of not more than ten (10) persons occupying a campsite or camping cabin for not more than thirty (30) days annually.

(11) (12) Campsite. A designated area or lot within an incidental camping area used for occupation by a camping party.

(12) (13) Carport. An accessory structure, used for shade or weather protection for a vehicle or vehicles which shall be freestanding.

(13) (14) Cited Person. A person or entity issued a notice of violation for a violation of this chapter or applicable laws who is responsible for its correction.

(14) (15) Combustible. As applied to building construction is any material or construction which does not meet the criteria of noncombustible as defined in subsection (n) of this section.

(15) (16) Common Area. An area, within the boundaries of the park, that is not specific to any lot or space and is under the ownership and control of the park.

(16) (17) Commercial Modular. “Commercial modular” means a structure transportable in one or more sections, designed and equipped for human occupancy for industrial, professional, or commercial purposes, which is required to be moved under permit, and shall include a trailer coach as defined in section 635 of the Vehicle Code. “Commercial

coach” has the same meaning as “commercial modular” as that term is defined in section 18001.8 of the Health and Safety Code.

(17) (18) Concrete Block Pier. An assembly of load-bearing, concrete blocks with wooden wedges used to level a unit.

(18) (19) Concrete Pier. A concrete load-bearing support that incorporates into its structure an adjustable means of raising and leveling the unit.

(19) (20) Contractor. Any person as defined in Business and Professions Code sections 7026 through 7026.3.

Note:

Authority cited: Sections 18865, 18865.05, 18865.3 and 18873, Health and Safety Code.

Reference: Section 11009.5, Government Code and Sections 18007, 18008, 18008.5, 18008.7, 18009.3, 18010, 18013.4, 18861, 18862, 18862.15, 18862.23, 18862.33, 18862.35, 18865.3, 18866.3, 18866.4, 18867, 18868, 18870.14, 18871.4, 18872, 18872.2, 18873, 18873.1, 18873.2, 18873.3, 18873.4, 18873.5 and 18909, Health and Safety Code.

## Title 25. Housing and Community Development

## Division 1. Housing and Community Development

## Chapter 2.2. Special Occupancy Parks

## Article 2. General Park Requirements

## 2. Amend Section 2118.

### § 2118. Lot Occupancy

…

(c) A permanent building, garage, cabana, or storage building shall not be constructed or installed on any lot in a park.

Exceptions:

(1) A freestanding cabana of no more than 120 square feet in floor area may be located on a lot for the use of a recreational vehicle, tent, camping cabin, camp car, or camping party as a private bathroom or toilet room only, and shall not contain cooking appliances, or be used as a kitchen, dining room, or sleeping room.

(2) A cabana on a MH-unit lot may include closets, pantries, bath or toilet rooms, service rooms, connecting corridors, laundries, storage spaces, utility rooms, and similar spaces. The total floor area of a cabana(s) on a lot shall not exceed the total floor area of the unit to which it is an accessory.

…

(h) The following shall apply in parks designated as tent camps.

…

(4) A freestanding cabana of no more than 120 square feet in floor area may be located on a tent camp lot as a private bathroom or toilet room only, and shall not contain cooking appliances, or be used as a kitchen, dining room, or sleeping room.

...

Note:

Authority cited: Sections 18865, 18865.05 and 18865.3, Health and Safety Code.

Reference: Sections 18871, 18871.3, 18872, 18873, 18873.1 and 18873.5, Health and Safety Code.

## Title 25. Housing and Community Development

## Division 1. Housing and Community Development

## Chapter 2.2. Special Occupancy Parks

## Article 9. Accessory Buildings and Structures

## 3. Amend Section 2424.

### § 2424. Regulated Structures

…

(c) Cabanas, garages and storage buildings shall not be constructed or installed in special occupancy parks except on lots designated for MH-Units as specified in section 2118 of this chapter.

…

Note:

Authority cited: Section 18865, Health and Safety Code.

Reference: Sections 18863.4, 18865, 18870 and 18871.3, Health and Safety Code.

## 4. Amend Section 2443.

### § 2443. Private Garages, Cabanas, and Storage Buildings

(a) Garages, cabanas and storage buildings shall be located only on lots designated for manufactured homes or mobilehomes in accordance with section 2118.

…

Note:

Authority cited: Section 18865, Health and Safety Code.

Reference: Sections 18871.3 and 18872, Health and Safety Code.

## 5. Amend Section 2444.

### § 2444. Cabanas

(a) Cabanas shall be located only on lots designated for manufactured homes or mobilehomes in accordance with section 2118.

…

Note:

Authority cited: Section 18865, Health and Safety Code.

Reference: Section 18871.3, Health and Safety Code.